## Sensitivity
FG Signal amplitude(V) | Signal frequency(Hz) | MTJ operating current(A) | Voltage of shunt R(V) | Shunt resistance(Ohm) | R average | DC component | HHC field amplitude(G) | MTJ signal amplitude(V) | Percent change | Sensitivity(%/G) | Real time(s)
10 | 1502.9989 | 0.001 | 0.49472 | 5.1203 | 0.077471 | 2.9597 | 4.3352 | 0.10956 | 0.037017 | 0.85388 | 7.634
9 | 1502.9989 | 0.001 | 0.44517 | 5.1203 | 0.068611 | 2.9529 | 3.9009 | 0.09703 | 0.032859 | 0.84235 | 13.5845
8 | 1502.9989 | 0.001 | 0.39567 | 5.1203 | 0.05972 | 2.9461 | 3.4672 | 0.084457 | 0.028667 | 0.82682 | 19.5367
7 | 1502.9989 | 0.001 | 0.3463 | 5.1203 | 0.050883 | 2.9463 | 3.0345 | 0.071959 | 0.024424 | 0.80486 | 25.4881
6 | 1502.9992 | 0.001 | 0.2969 | 5.1203 | 0.042201 | 2.9435 | 2.6017 | 0.059681 | 0.020275 | 0.77932 | 33.0159
5 | 1502.999 | 0.001 | 0.24719 | 5.1203 | 0.033756 | 2.9453 | 2.1661 | 0.047738 | 0.016208 | 0.74826 | 38.9681
4 | 1502.9989 | 0.001 | 0.19767 | 5.1203 | 0.025876 | 2.9551 | 1.7322 | 0.036595 | 0.012384 | 0.71492 | 44.9195
3 | 1502.9989 | 0.001 | 0.1484 | 5.1203 | 0.018259 | 2.9447 | 1.3004 | 0.025822 | 0.008769 | 0.67431 | 50.8871
2 | 1502.9989 | 0.001 | 0.099005 | 5.1203 | 0.011099 | 2.9397 | 0.86756 | 0.015697 | 0.0053396 | 0.61547 | 58.4013
1 | 1502.9988 | 0.001 | 0.049409 | 5.1203 | 0.0047819 | 2.9491 | 0.43296 | 0.0067626 | 0.0022931 | 0.52964 | 64.5262
10 | 1502.9988 | 0.001 | 6.6952 | 982.7692 | 0.0031505 | 2.9687 | 0.30567 | 0.0044555 | 0.0015008 | 0.491 | 5.8247
9 | 1502.9989 | 0.001 | 6.025 | 982.7692 | 0.0027852 | 2.9739 | 0.27507 | 0.0039388 | 0.0013245 | 0.4815 | 11.1075
8 | 1502.9988 | 0.001 | 5.3539 | 982.7692 | 0.00243 | 2.9622 | 0.24443 | 0.0034366 | 0.0011601 | 0.47463 | 16.5025
7 | 1502.9989 | 0.001 | 4.6855 | 982.7692 | 0.0020848 | 2.96 | 0.21392 | 0.0029483 | 0.00099606 | 0.46563 | 21.8047
6 | 1502.9987 | 0.001 | 4.0175 | 982.7692 | 0.0017525 | 2.9591 | 0.18342 | 0.0024784 | 0.00083757 | 0.45664 | 27.187
5 | 1502.9988 | 0.001 | 3.3406 | 982.7692 | 0.001429 | 2.9354 | 0.15251 | 0.0020209 | 0.00068845 | 0.4514 | 32.6087
4 | 1502.9988 | 0.001 | 2.6708 | 982.7692 | 0.0011128 | 2.9413 | 0.12193 | 0.0015738 | 0.00053505 | 0.43881 | 38.0523
3 | 1502.9989 | 0.001 | 2.0042 | 982.7692 | 0.00081871 | 2.9345 | 0.091501 | 0.0011578 | 0.00039456 | 0.4312 | 43.4625
2 | 1502.9988 | 0.001 | 1.3339 | 982.7692 | 0.00053393 | 2.9332 | 0.060898 | 0.00075509 | 0.00025743 | 0.42272 | 48.8907
1 | 1502.9989 | 0.001 | 0.66363 | 982.7692 | 0.00025992 | 2.9407 | 0.030298 | 0.00036758 | 0.000125 | 0.41256 | 54.6662
10 | 1502.9988 | 0.001 | 7.0738 | 9887.211 | 0.00027711 | 2.9722 | 0.032101 | 0.00039189 | 0.00013185 | 0.41074 | 5.0937
9 | 1502.9988 | 0.001 | 6.3648 | 9887.211 | 0.00024689 | 2.9753 | 0.028883 | 0.00034916 | 0.00011735 | 0.4063 | 10.3944
8 | 1502.9988 | 0.001 | 5.6563 | 9887.211 | 0.00022268 | 2.9746 | 0.025668 | 0.00031491 | 0.00010587 | 0.41244 | 15.7717
7 | 1502.9989 | 0.001 | 4.9509 | 9887.211 | 0.00019159 | 2.9769 | 0.022467 | 0.00027095 | 9.1018e-05 | 0.40512 | 21.1982
6 | 1502.9988 | 0.001 | 4.2447 | 9887.211 | 0.00016289 | 2.9756 | 0.019262 | 0.00023036 | 7.7417e-05 | 0.40191 | 26.6246
5 | 1502.9989 | 0.001 | 3.528 | 9887.211 | 0.0001365 | 2.9733 | 0.01601 | 0.00019304 | 6.4923e-05 | 0.40552 | 32.052
4 | 1502.9989 | 0.001 | 2.8214 | 9887.211 | 0.00010812 | 2.9726 | 0.012804 | 0.0001529 | 5.1437e-05 | 0.40174 | 37.4794
3 | 1502.9989 | 0.001 | 2.1175 | 9887.211 | 8.162e-05 | 2.9759 | 0.0096092 | 0.00011543 | 3.8788e-05 | 0.40365 | 42.9083
2 | 1502.9989 | 0.001 | 1.4085 | 9887.211 | 5.4556e-05 | 2.9757 | 0.0063918 | 7.7154e-05 | 2.5928e-05 | 0.40564 | 48.3647
1 | 1502.9988 | 0.001 | 0.70037 | 9887.211 | 2.7591e-05 | 2.9753 | 0.0031783 | 3.902e-05 | 1.3115e-05 | 0.41263 | 54.1379
1 | 1502.9988 | 0.001 | 0.7002 | 9887.211 | 2.668e-05 | 2.9766 | 0.0031775 | 3.7731e-05 | 1.2676e-05 | 0.39892 | 5.6631
0.9 | 1502.9988 | 0.001 | 0.63031 | 9887.211 | 2.6021e-05 | 2.9774 | 0.0028604 | 3.6799e-05 | 1.2359e-05 | 0.43209 | 11.4912
0.8 | 1502.9988 | 0.001 | 0.56017 | 9887.211 | 2.0879e-05 | 2.9793 | 0.002542 | 2.9527e-05 | 9.9107e-06 | 0.38987 | 17.3906
0.7 | 1502.9988 | 0.001 | 0.49038 | 9887.211 | 1.9661e-05 | 2.9794 | 0.0022253 | 2.7804e-05 | 9.3321e-06 | 0.41936 | 23.3463
0.6 | 1502.9989 | 0.001 | 0.42058 | 9887.211 | 1.6191e-05 | 2.9814 | 0.0019086 | 2.2898e-05 | 7.6802e-06 | 0.4024 | 29.2973
0.5 | 1502.9991 | 0.001 | 0.35048 | 9887.211 | 1.338e-05 | 2.9784 | 0.0015905 | 1.8922e-05 | 6.3531e-06 | 0.39945 | 35.2964
0.4 | 1502.9988 | 0.001 | 0.28028 | 9887.211 | 1.2342e-05 | 2.976 | 0.0012719 | 1.7454e-05 | 5.8648e-06 | 0.46111 | 41.2011
0.3 | 1502.999 | 0.001 | 0.20975 | 9887.211 | 9.5742e-06 | 2.9757 | 0.00095182 | 1.354e-05 | 4.5502e-06 | 0.47805 | 47.1528
0.2 | 1502.9987 | 0.001 | 0.13989 | 9887.211 | 7.7499e-06 | 2.9766 | 0.00063484 | 1.096e-05 | 3.6821e-06 | 0.58 | 53.1412
0.1 | 1502.9988 | 0.001 | 0.06996 | 9887.211 | 6.8411e-06 | 2.9796 | 0.00031748 | 9.6748e-06 | 3.247e-06 | 1.0228 | 59.2449
10 | 1502.999 | 0.001 | 7.1125 | 98352.2549 | 5.358e-05 | 3.0096 | 0.0032447 | 7.5774e-05 | 2.5177e-05 | 0.77596 | 5.2491
9.5 | 1502.999 | 0.001 | 6.7559 | 98352.2549 | 4.9888e-05 | 3.0099 | 0.003082 | 7.0553e-05 | 2.344e-05 | 0.76054 | 10.5511
9 | 1502.999 | 0.001 | 6.3992 | 98352.2549 | 4.8972e-05 | 3.0099 | 0.0029193 | 6.9258e-05 | 2.301e-05 | 0.7882 | 15.9275
8.5 | 1502.999 | 0.001 | 6.0439 | 98352.2549 | 4.6757e-05 | 3.0099 | 0.0027572 | 6.6125e-05 | 2.1969e-05 | 0.79678 | 21.3683
8 | 1502.9992 | 0.001 | 5.687 | 98352.2549 | 4.1028e-05 | 3.01 | 0.0025944 | 5.8023e-05 | 1.9277e-05 | 0.74302 | 26.7819
7.5 | 1502.999 | 0.001 | 5.3334 | 98352.2549 | 4.1046e-05 | 3.0099 | 0.0024331 | 5.8048e-05 | 1.9286e-05 | 0.79265 | 32.2369
7 | 1502.9991 | 0.001 | 4.9777 | 98352.2549 | 3.7372e-05 | 3.0099 | 0.0022708 | 5.2852e-05 | 1.7559e-05 | 0.77326 | 37.6357
6.5 | 1502.9991 | 0.001 | 4.6208 | 98352.2549 | 3.4681e-05 | 3.01 | 0.002108 | 4.9046e-05 | 1.6294e-05 | 0.77298 | 43.0622
6 | 1502.999 | 0.001 | 4.2674 | 98352.2549 | 3.1054e-05 | 3.0099 | 0.0019468 | 4.3917e-05 | 1.4591e-05 | 0.74949 | 48.518
5.5 | 1502.999 | 0.001 | 3.9108 | 98352.2549 | 3.0188e-05 | 3.0099 | 0.0017841 | 4.2692e-05 | 1.4184e-05 | 0.79502 | 53.9172
5 | 1502.9991 | 0.001 | 3.5467 | 98352.2549 | 2.6498e-05 | 3.01 | 0.001618 | 3.7474e-05 | 1.245e-05 | 0.76947 | 59.3566
4.5 | 1502.9991 | 0.001 | 3.1924 | 98352.2549 | 2.4076e-05 | 3.0099 | 0.0014564 | 3.4049e-05 | 1.1312e-05 | 0.77675 | 64.7816
4 | 1502.999 | 0.001 | 2.8363 | 98352.2549 | 2.1036e-05 | 3.01 | 0.0012939 | 2.9749e-05 | 9.8834e-06 | 0.76384 | 70.2244
3.5 | 1502.9991 | 0.001 | 2.4828 | 98352.2549 | 2.009e-05 | 3.01 | 0.0011326 | 2.8411e-05 | 9.4389e-06 | 0.83336 | 75.6364
3 | 1502.999 | 0.001 | 2.1285 | 98352.2549 | 1.6861e-05 | 3.01 | 0.000971 | 2.3844e-05 | 7.9217e-06 | 0.81583 | 81.049
2.5 | 1502.999 | 0.001 | 1.7697 | 98352.2549 | 1.3357e-05 | 3.01 | 0.00080735 | 1.889e-05 | 6.2757e-06 | 0.77733 | 86.4838
2 | 1502.999 | 0.001 | 1.4161 | 98352.2549 | 1.1368e-05 | 3.0099 | 0.00064604 | 1.6077e-05 | 5.3412e-06 | 0.82677 | 91.9522
1.5 | 1502.999 | 0.001 | 1.062 | 98352.2549 | 9.7636e-06 | 3.0099 | 0.00048448 | 1.3808e-05 | 4.5875e-06 | 0.94688 | 97.3312
1 | 1502.999 | 0.001 | 0.70382 | 98352.2549 | 7.1085e-06 | 3.01 | 0.00032108 | 1.0053e-05 | 3.3398e-06 | 1.0402 | 103.1529
0.5 | 1502.999 | 0.001 | 0.35239 | 98352.2549 | 6.7081e-06 | 3.0099 | 0.00016076 | 9.4866e-06 | 3.1518e-06 | 1.9606 | 109.1058

## Sheet1
FG Signal amplitude(V) | HHC field amplitude(G) | R average
10 | 4.3352 | 0.077471
9 | 3.9009 | 0.068611
8 | 3.4672 | 0.05972
7 | 3.0345 | 0.050883
6 | 2.6017 | 0.042201
5 | 2.1661 | 0.033756
4 | 1.7322 | 0.025876
3 | 1.3004 | 0.018259
2 | 0.86756 | 0.011099
1 | 0.43296 | 0.0047819
10 | 0.30567 | 0.0031505
9 | 0.27507 | 0.0027852
8 | 0.24443 | 0.00243
7 | 0.21392 | 0.0020848
6 | 0.18342 | 0.0017525
5 | 0.15251 | 0.001429
4 | 0.12193 | 0.0011128
3 | 0.091501 | 0.00081871
2 | 0.060898 | 0.00053393
1 | 0.030298 | 0.00025992
10 | 0.032101 | 0.00027711
9 | 0.028883 | 0.00024689
8 | 0.025668 | 0.00022268
7 | 0.022467 | 0.00019159
6 | 0.019262 | 0.00016289
5 | 0.01601 | 0.0001365
4 | 0.012804 | 0.00010812
3 | 0.0096092 | 8.162e-05
2 | 0.0063918 | 5.4556e-05
1 | 0.0031783 | 2.7591e-05
1 | 0.0031775 | 2.668e-05
0.9 | 0.0028604 | 2.6021e-05
0.8 | 0.002542 | 2.0879e-05
0.7 | 0.0022253 | 1.9661e-05
0.6 | 0.0019086 | 1.6191e-05
0.5 | 0.0015905 | 1.338e-05
0.4 | 0.0012719 | 1.2342e-05
0.3 | 0.00095182 | 9.5742e-06
0.2 | 0.00063484 | 7.7499e-06
0.1 | 0.00031748 | 6.8411e-06
10 | 0.0032447 | 5.358e-05
9.5 | 0.003082 | 4.9888e-05
9 | 0.0029193 | 4.8972e-05
8.5 | 0.0027572 | 4.6757e-05
8 | 0.0025944 | 4.1028e-05
7.5 | 0.0024331 | 4.1046e-05
7 | 0.0022708 | 3.7372e-05
6.5 | 0.002108 | 3.4681e-05
6 | 0.0019468 | 3.1054e-05
5.5 | 0.0017841 | 3.0188e-05
5 | 0.001618 | 2.6498e-05
4.5 | 0.0014564 | 2.4076e-05
4 | 0.0012939 | 2.1036e-05
3.5 | 0.0011326 | 2.009e-05
3 | 0.000971 | 1.6861e-05
2.5 | 0.00080735 | 1.3357e-05
2 | 0.00064604 | 1.1368e-05
1.5 | 0.00048448 | 9.7636e-06
1 | 0.00032108 | 7.1085e-06
0.5 | 0.00016076 | 6.7081e-06

## Sheet2
FG Signal amplitude(V) | Signal frequency(Hz) | Signal freq_std(Hz) | MTJ operating current(A) | Voltage of shunt R(V) | Shunt resistance(Ohm) | R average | R std | DC component | HHC field amplitude(G) | MTJ signal amplitude(V) | Percent change | Sensitivity(%/G) | Real time(s) | HHC field amplitude(G) | R average
1 | 1502.9993 | 0.029308 | 0.001 | 0.69979 | 9887.211 | 2.7844e-05 | 4.509e-06 | 3.009 | 0.0031756 | 3.9378e-05 | 1.3087e-05 | 0.4121 | 5.578 | 0.0031756 | 2.7844e-05
0.95 | 1502.9988 | 0.00073295 | 0.001 | 0.66505 | 9887.211 | 2.617e-05 | 4.8567e-06 | 3.009 | 0.003018 | 3.701e-05 | 1.23e-05 | 0.40754 | 11.5134 | 0.003018 | 2.617e-05
0.9 | 1502.9988 | 0.00080094 | 0.001 | 0.63034 | 9887.211 | 2.3321e-05 | 5.7597e-06 | 3.009 | 0.0028605 | 3.2981e-05 | 1.0961e-05 | 0.38318 | 17.4665 | 0.0028605 | 2.3321e-05
0.85 | 1502.9989 | 0.00089966 | 0.001 | 0.5955 | 9887.211 | 2.3496e-05 | 4.7768e-06 | 3.0089 | 0.0027024 | 3.3228e-05 | 1.1043e-05 | 0.40864 | 23.4525 | 0.0027024 | 2.3496e-05
0.8 | 1502.9988 | 0.00083628 | 0.001 | 0.56033 | 9887.211 | 2.2072e-05 | 5.5332e-06 | 3.0088 | 0.0025428 | 3.1215e-05 | 1.0374e-05 | 0.40799 | 29.428 | 0.0025428 | 2.2072e-05
0.75 | 1502.9989 | 0.00071448 | 0.001 | 0.5256 | 9887.211 | 2.0262e-05 | 4.6048e-06 | 3.0088 | 0.0023852 | 2.8655e-05 | 9.5238e-06 | 0.39929 | 35.3301 | 0.0023852 | 2.0262e-05
0.7 | 1502.9988 | 0.00074904 | 0.001 | 0.49051 | 9887.211 | 1.9724e-05 | 5.0973e-06 | 3.0087 | 0.0022259 | 2.7894e-05 | 9.2712e-06 | 0.41651 | 41.4486 | 0.0022259 | 1.9724e-05
0.65 | 1502.9989 | 0.00078842 | 0.001 | 0.45537 | 9887.211 | 1.7717e-05 | 5.2497e-06 | 3.0088 | 0.0020665 | 2.5056e-05 | 8.3276e-06 | 0.40299 | 47.4 | 0.0020665 | 1.7717e-05
0.6 | 1502.9987 | 0.00080146 | 0.001 | 0.4205 | 9887.211 | 1.7694e-05 | 4.4652e-06 | 3.0088 | 0.0019082 | 2.5023e-05 | 8.3167e-06 | 0.43584 | 53.3676 | 0.0019082 | 1.7694e-05
0.55 | 1502.9988 | 0.00070996 | 0.001 | 0.38537 | 9887.211 | 1.4804e-05 | 4.8075e-06 | 3.0088 | 0.0017488 | 2.0937e-05 | 6.9585e-06 | 0.3979 | 59.482 | 0.0017488 | 1.4804e-05
0.5 | 1502.9988 | 0.00072598 | 0.001 | 0.35043 | 9887.211 | 1.4777e-05 | 4.9207e-06 | 3.0088 | 0.0015902 | 2.0897e-05 | 6.9454e-06 | 0.43675 | 65.4826 | 0.0015902 | 1.4777e-05
0.45 | 1502.9988 | 0.0010836 | 0.001 | 0.31545 | 9887.211 | 1.2799e-05 | 4.3304e-06 | 3.0088 | 0.0014315 | 1.8101e-05 | 6.0159e-06 | 0.42026 | 71.3993 | 0.0014315 | 1.2799e-05
0.4 | 1502.9988 | 0.00075891 | 0.001 | 0.28031 | 9887.211 | 1.2865e-05 | 4.8251e-06 | 3.0088 | 0.001272 | 1.8194e-05 | 6.0468e-06 | 0.47537 | 77.3936 | 0.001272 | 1.2865e-05
0.35 | 1502.9988 | 0.00071972 | 0.001 | 0.24542 | 9887.211 | 1.2096e-05 | 4.1999e-06 | 3.0088 | 0.0011137 | 1.7106e-05 | 5.6853e-06 | 0.51049 | 83.4635 | 0.0011137 | 1.2096e-05
0.3 | 1502.9988 | 0.00069613 | 0.001 | 0.20977 | 9887.211 | 1.1276e-05 | 4.7896e-06 | 3.0088 | 0.00095194 | 1.5946e-05 | 5.2999e-06 | 0.55674 | 89.4158 | 0.00095194 | 1.1276e-05
0.25 | 1502.9989 | 0.00074797 | 0.001 | 0.17481 | 9887.211 | 9.7219e-06 | 4.1091e-06 | 3.0088 | 0.0007933 | 1.3749e-05 | 4.5696e-06 | 0.57602 | 95.3713 | 0.0007933 | 9.7219e-06
0.2 | 1502.9989 | 0.00081859 | 0.001 | 0.13997 | 9887.211 | 8.0143e-06 | 3.7933e-06 | 3.0088 | 0.0006352 | 1.1334e-05 | 3.7669e-06 | 0.59302 | 101.496 | 0.0006352 | 8.0143e-06
0.15 | 1502.9988 | 0.00064505 | 0.001 | 0.10495 | 9887.211 | 7.0939e-06 | 3.7229e-06 | 3.0088 | 0.00047627 | 1.0032e-05 | 3.3343e-06 | 0.70009 | 107.4578 | 0.00047627 | 7.0939e-06
0.1 | 1502.9989 | 0.00087716 | 0.001 | 0.070001 | 9887.211 | 6.6434e-06 | 3.5521e-06 | 3.0088 | 0.00031766 | 9.3952e-06 | 3.1226e-06 | 0.98298 | 113.4651 | 0.00031766 | 6.6434e-06
0.05 | 1502.999 | 0.000717 | 0.001 | 0.03504 | 9887.211 | 6.19e-06 | 3.0551e-06 | 3.0087 | 0.00015901 | 8.7539e-06 | 2.9095e-06 | 1.8297 | 119.527 | 0.00015901 | 6.19e-06

## Sheet3
FG Signal amplitude(V) | Signal frequency(Hz) | Signal freq_std(Hz) | MTJ operating current(A) | Voltage of shunt R(V) | Shunt resistance(Ohm) | R average | R std | DC component | HHC field amplitude(G) | MTJ signal amplitude(V) | Percent change | Sensitivity(%/G) | HHC field amplitude(G) | R average | HHC field amplitude(mG) | R average(uV) | HHC field amplitude(G) | R average
10 | 1502.9989 |  | 0.001 | 0.49472 | 5.1203 | 0.077471 |  | 2.9597 | 4.3352 | 0.10956 | 0.037017 | 0.85388 | 0.0031771 | 2.5877e-05 | 3.1771 | 25.8771 | 4.3352 | 0.077471
9 | 1502.9989 |  | 0.001 | 0.44517 | 5.1203 | 0.068611 |  | 2.9529 | 3.9009 | 0.09703 | 0.032859 | 0.84235 | 0.0031486 | 2.682e-05 | 3.1486 | 26.8201 | 3.9009 | 0.068611
8 | 1502.9989 |  | 0.001 | 0.39567 | 5.1203 | 0.05972 |  | 2.9461 | 3.4672 | 0.084457 | 0.028667 | 0.82682 | 0.0031168 | 2.8197e-05 | 3.1168 | 28.1973 | 3.4672 | 0.05972
7 | 1502.9989 |  | 0.001 | 0.3463 | 5.1203 | 0.050883 |  | 2.9463 | 3.0345 | 0.071959 | 0.024424 | 0.80486 | 0.003085 | 2.5206e-05 | 3.085 | 25.2058 | 3.0345 | 0.050883
6 | 1502.9992 |  | 0.001 | 0.2969 | 5.1203 | 0.042201 |  | 2.9435 | 2.6017 | 0.059681 | 0.020275 | 0.77932 | 0.0030532 | 2.6726e-05 | 3.0532 | 26.7265 | 2.6017 | 0.042201
5 | 1502.999 |  | 0.001 | 0.24719 | 5.1203 | 0.033756 |  | 2.9453 | 2.1661 | 0.047738 | 0.016208 | 0.74826 | 0.0030217 | 2.5839e-05 | 3.0217 | 25.8393 | 2.1661 | 0.033756
4 | 1502.9989 |  | 0.001 | 0.19767 | 5.1203 | 0.025876 |  | 2.9551 | 1.7322 | 0.036595 | 0.012384 | 0.71492 | 0.0029901 | 2.6641e-05 | 2.9901 | 26.6407 | 1.7322 | 0.025876
3 | 1502.9989 |  | 0.001 | 0.1484 | 5.1203 | 0.018259 |  | 2.9447 | 1.3004 | 0.025822 | 0.008769 | 0.67431 | 0.0029585 | 2.539e-05 | 2.9585 | 25.3904 | 1.3004 | 0.018259
2 | 1502.9989 |  | 0.001 | 0.099005 | 5.1203 | 0.011099 |  | 2.9397 | 0.86756 | 0.015697 | 0.0053396 | 0.61547 | 0.0029268 | 2.4507e-05 | 2.9268 | 24.507 | 0.86756 | 0.011099
1 | 1502.9988 |  | 0.001 | 0.049409 | 5.1203 | 0.0047819 |  | 2.9491 | 0.43296 | 0.0067626 | 0.0022931 | 0.52964 | 0.002895 | 2.3903e-05 | 2.895 | 23.9034 | 0.43296 | 0.0047819
10 | 1502.9988 |  | 0.001 | 6.6952 | 982.7692 | 0.0031505 |  | 2.9687 | 0.30567 | 0.0044555 | 0.0015008 | 0.491 | 0.0028633 | 2.5243e-05 | 2.8633 | 25.2433 | 0.30567 | 0.0031505
9 | 1502.9989 |  | 0.001 | 6.025 | 982.7692 | 0.0027852 |  | 2.9739 | 0.27507 | 0.0039388 | 0.0013245 | 0.4815 | 0.0028317 | 2.4559e-05 | 2.8317 | 24.5586 | 0.27507 | 0.0027852
8 | 1502.9988 |  | 0.001 | 5.3539 | 982.7692 | 0.00243 |  | 2.9622 | 0.24443 | 0.0034366 | 0.0011601 | 0.47463 | 0.0028 | 2.506e-05 | 2.8 | 25.0602 | 0.24443 | 0.00243
7 | 1502.9989 |  | 0.001 | 4.6855 | 982.7692 | 0.0020848 |  | 2.96 | 0.21392 | 0.0029483 | 0.00099606 | 0.46563 | 0.0027683 | 2.4441e-05 | 2.7683 | 24.4409 | 0.21392 | 0.0020848
6 | 1502.9987 |  | 0.001 | 4.0175 | 982.7692 | 0.0017525 |  | 2.9591 | 0.18342 | 0.0024784 | 0.00083757 | 0.45664 | 0.0027365 | 2.2903e-05 | 2.7365 | 22.9027 | 0.18342 | 0.0017525
5 | 1502.9988 |  | 0.001 | 3.3406 | 982.7692 | 0.001429 |  | 2.9354 | 0.15251 | 0.0020209 | 0.00068845 | 0.4514 | 0.0027047 | 2.4385e-05 | 2.7047 | 24.3854 | 0.15251 | 0.001429
4 | 1502.9988 |  | 0.001 | 2.6708 | 982.7692 | 0.0011128 |  | 2.9413 | 0.12193 | 0.0015738 | 0.00053505 | 0.43881 | 0.0026729 | 2.2134e-05 | 2.6729 | 22.1337 | 0.12193 | 0.0011128
3 | 1502.9989 |  | 0.001 | 2.0042 | 982.7692 | 0.00081871 |  | 2.9345 | 0.091501 | 0.0011578 | 0.00039456 | 0.4312 | 0.002641 | 2.2457e-05 | 2.641 | 22.4573 | 0.091501 | 0.00081871
2 | 1502.9988 |  | 0.001 | 1.3339 | 982.7692 | 0.00053393 |  | 2.9332 | 0.060898 | 0.00075509 | 0.00025743 | 0.42272 | 0.0026091 | 2.2688e-05 | 2.6091 | 22.6877 | 0.060898 | 0.00053393
1 | 1502.9989 |  | 0.001 | 0.66363 | 982.7692 | 0.00025992 |  | 2.9407 | 0.030298 | 0.00036758 | 0.000125 | 0.41256 | 0.0025771 | 2.318e-05 | 2.5771 | 23.1797 | 0.030298 | 0.00025992
10 | 1502.9988 |  | 0.001 | 7.0738 | 9887.211 | 0.00027711 |  | 2.9722 | 0.032101 | 0.00039189 | 0.00013185 | 0.41074 | 0.0025452 | 2.1864e-05 | 2.5452 | 21.8642 | 0.032101 | 0.00027711
9 | 1502.9988 |  | 0.001 | 6.3648 | 9887.211 | 0.00024689 |  | 2.9753 | 0.028883 | 0.00034916 | 0.00011735 | 0.4063 | 0.0025145 | 2.2326e-05 | 2.5145 | 22.3257 | 0.028883 | 0.00024689
8 | 1502.9988 |  | 0.001 | 5.6563 | 9887.211 | 0.00022268 |  | 2.9746 | 0.025668 | 0.00031491 | 0.00010587 | 0.41244 | 0.0024826 | 2.2045e-05 | 2.4826 | 22.0448 | 0.025668 | 0.00022268
7 | 1502.9989 |  | 0.001 | 4.9509 | 9887.211 | 0.00019159 |  | 2.9769 | 0.022467 | 0.00027095 | 9.1018e-05 | 0.40512 | 0.0024508 | 2.2475e-05 | 2.4508 | 22.4754 | 0.022467 | 0.00019159
6 | 1502.9988 |  | 0.001 | 4.2447 | 9887.211 | 0.00016289 |  | 2.9756 | 0.019262 | 0.00023036 | 7.7417e-05 | 0.40191 | 0.0024191 | 2.16e-05 | 2.4191 | 21.5996 | 0.019262 | 0.00016289
5 | 1502.9989 |  | 0.001 | 3.528 | 9887.211 | 0.0001365 |  | 2.9733 | 0.01601 | 0.00019304 | 6.4923e-05 | 0.40552 | 0.0023873 | 2.0631e-05 | 2.3873 | 20.6306 | 0.01601 | 0.0001365
4 | 1502.9989 |  | 0.001 | 2.8214 | 9887.211 | 0.00010812 |  | 2.9726 | 0.012804 | 0.0001529 | 5.1437e-05 | 0.40174 | 0.0023555 | 2.063e-05 | 2.3555 | 20.6298 | 0.012804 | 0.00010812
3 | 1502.9989 |  | 0.001 | 2.1175 | 9887.211 | 8.162e-05 |  | 2.9759 | 0.0096092 | 0.00011543 | 3.8788e-05 | 0.40365 | 0.0023237 | 2.1745e-05 | 2.3237 | 21.7454 | 0.0096092 | 8.162e-05
2 | 1502.9989 |  | 0.001 | 1.4085 | 9887.211 | 5.4556e-05 |  | 2.9757 | 0.0063918 | 7.7154e-05 | 2.5928e-05 | 0.40564 | 0.002287 | 1.9919e-05 | 2.287 | 19.9187 | 0.0063918 | 5.4556e-05
1 | 1502.9988 |  | 0.001 | 0.70037 | 9887.211 | 2.7591e-05 |  | 2.9753 | 0.0031783 | 3.902e-05 | 1.3115e-05 | 0.41263 | 0.0022553 | 2.1073e-05 | 2.2553 | 21.0728 | 0.0031783 | 2.7591e-05
1 | 1502.9988 | 0.00068374 | 0.001 | 0.70011 | 9887.211 | 2.5877e-05 | 4.2897e-06 | 3.0088 | 0.0031771 | 3.6596e-05 | 1.2163e-05 | 0.38283 | 0.0022234 | 1.9313e-05 | 2.2234 | 19.3132 | 0.0031771 | 2.5877e-05
0.99 | 1502.9988 | 0.00074644 | 0.001 | 0.69383 | 9887.211 | 2.682e-05 | 3.9411e-06 | 3.0088 | 0.0031486 | 3.7929e-05 | 1.2606e-05 | 0.40037 | 0.0021916 | 2.0582e-05 | 2.1916 | 20.5817 | 0.0031486 | 2.682e-05
0.98 | 1502.9989 | 0.00078274 | 0.001 | 0.68683 | 9887.211 | 2.8197e-05 | 4.2953e-06 | 3.0088 | 0.0031168 | 3.9877e-05 | 1.3253e-05 | 0.42523 | 0.0021597 | 2.0124e-05 | 2.1597 | 20.1241 | 0.0031168 | 2.8197e-05
0.97 | 1502.9989 | 0.00074636 | 0.001 | 0.67982 | 9887.211 | 2.5206e-05 | 4.4018e-06 | 3.0088 | 0.003085 | 3.5646e-05 | 1.1847e-05 | 0.38403 | 0.0021279 | 1.8774e-05 | 2.1279 | 18.7738 | 0.003085 | 2.5206e-05
0.96 | 1502.9989 | 0.00072116 | 0.001 | 0.67281 | 9887.211 | 2.6726e-05 | 4.8253e-06 | 3.0089 | 0.0030532 | 3.7797e-05 | 1.2562e-05 | 0.41143 | 0.0020961 | 1.8235e-05 | 2.0961 | 18.235 | 0.0030532 | 2.6726e-05
0.95 | 1502.9989 | 0.00071235 | 0.001 | 0.66586 | 9887.211 | 2.5839e-05 | 4.4639e-06 | 3.0088 | 0.0030217 | 3.6542e-05 | 1.2145e-05 | 0.40194 | 0.0020643 | 1.8948e-05 | 2.0643 | 18.9478 | 0.0030217 | 2.5839e-05
0.94 | 1502.9988 | 0.00072883 | 0.001 | 0.65891 | 9887.211 | 2.6641e-05 | 5.3897e-06 | 3.0088 | 0.0029901 | 3.7676e-05 | 1.2522e-05 | 0.41878 | 0.0020325 | 1.8051e-05 | 2.0325 | 18.0506 | 0.0029901 | 2.6641e-05
0.93 | 1502.9989 | 0.00069433 | 0.001 | 0.65194 | 9887.211 | 2.539e-05 | 4.3216e-06 | 3.0087 | 0.0029585 | 3.5907e-05 | 1.1935e-05 | 0.4034 | 0.002003 | 1.8754e-05 | 2.003 | 18.7541 | 0.0029585 | 2.539e-05
0.92 | 1502.9989 | 0.00068049 | 0.001 | 0.64495 | 9887.211 | 2.4507e-05 | 5.1733e-06 | 3.0088 | 0.0029268 | 3.4658e-05 | 1.1519e-05 | 0.39357 | 0.0019714 | 1.6314e-05 | 1.9714 | 16.3145 | 0.0029268 | 2.4507e-05
0.91 | 1502.9988 | 0.0007408 | 0.001 | 0.63795 | 9887.211 | 2.3903e-05 | 5.1778e-06 | 3.0088 | 0.002895 | 3.3805e-05 | 1.1235e-05 | 0.38809 | 0.0019403 | 1.6803e-05 | 1.9403 | 16.8028 | 0.002895 | 2.3903e-05
0.9 | 1502.9989 | 0.00093619 | 0.001 | 0.63095 | 9887.211 | 2.5243e-05 | 4.5203e-06 | 3.0088 | 0.0028633 | 3.5699e-05 | 1.1865e-05 | 0.41439 | 0.0019084 | 1.6983e-05 | 1.9084 | 16.9826 | 0.0028633 | 2.5243e-05
0.89 | 1502.9989 | 0.00074643 | 0.001 | 0.62399 | 9887.211 | 2.4559e-05 | 4.6632e-06 | 3.0089 | 0.0028317 | 3.4731e-05 | 1.1543e-05 | 0.40763 | 0.0018763 | 1.6204e-05 | 1.8763 | 16.2043 | 0.0028317 | 2.4559e-05
0.88 | 1502.9989 | 0.00084253 | 0.001 | 0.61701 | 9887.211 | 2.506e-05 | 5.2837e-06 | 3.0088 | 0.0028 | 3.544e-05 | 1.1779e-05 | 0.42068 | 0.0018443 | 1.5877e-05 | 1.8443 | 15.8768 | 0.0028 | 2.506e-05
0.87 | 1502.9989 | 0.00065139 | 0.001 | 0.61003 | 9887.211 | 2.4441e-05 | 5.3479e-06 | 3.0088 | 0.0027683 | 3.4565e-05 | 1.1488e-05 | 0.41498 | 0.0018126 | 1.539e-05 | 1.8126 | 15.3895 | 0.0027683 | 2.4441e-05
0.86 | 1502.9988 | 0.00084343 | 0.001 | 0.60302 | 9887.211 | 2.2903e-05 | 4.6253e-06 | 3.0088 | 0.0027365 | 3.2389e-05 | 1.0765e-05 | 0.39338 | 0.0017808 | 1.5702e-05 | 1.7808 | 15.7021 | 0.0027365 | 2.2903e-05
0.85 | 1502.9989 | 0.00092232 | 0.001 | 0.59601 | 9887.211 | 2.4385e-05 | 4.9665e-06 | 3.0088 | 0.0027047 | 3.4486e-05 | 1.1462e-05 | 0.42377 | 0.0017488 | 1.5674e-05 | 1.7488 | 15.6739 | 0.0027047 | 2.4385e-05
0.84 | 1502.9988 | 0.00074201 | 0.001 | 0.589 | 9887.211 | 2.2134e-05 | 4.8473e-06 | 3.0088 | 0.0026729 | 3.1302e-05 | 1.0403e-05 | 0.38922 | 0.0017171 | 1.4888e-05 | 1.7171 | 14.8879 | 0.0026729 | 2.2134e-05
0.83 | 1502.9989 | 0.00078068 | 0.001 | 0.58198 | 9887.211 | 2.2457e-05 | 4.7911e-06 | 3.0088 | 0.002641 | 3.1759e-05 | 1.0556e-05 | 0.39968 | 0.0016853 | 1.502e-05 | 1.6853 | 15.0204 | 0.002641 | 2.2457e-05
0.82 | 1502.9988 | 0.00073449 | 0.001 | 0.57495 | 9887.211 | 2.2688e-05 | 5.2086e-06 | 3.0088 | 0.0026091 | 3.2085e-05 | 1.0664e-05 | 0.40872 | 0.0016535 | 1.5768e-05 | 1.6535 | 15.7682 | 0.0026091 | 2.2688e-05
0.81 | 1502.9989 | 0.00070925 | 0.001 | 0.5679 | 9887.211 | 2.318e-05 | 4.8799e-06 | 3.0088 | 0.0025771 | 3.2781e-05 | 1.0895e-05 | 0.42276 | 0.0016217 | 1.4546e-05 | 1.6217 | 14.5457 | 0.0025771 | 2.318e-05
0.8 | 1502.9989 | 0.00078929 | 0.001 | 0.56086 | 9887.211 | 2.1864e-05 | 4.6941e-06 | 3.0088 | 0.0025452 | 3.0921e-05 | 1.0277e-05 | 0.40377 | 0.0015907 | 1.383e-05 | 1.5907 | 13.8296 | 0.0025452 | 2.1864e-05
0.79 | 1502.9988 | 0.00073958 | 0.001 | 0.55409 | 9887.211 | 2.2326e-05 | 5.1796e-06 | 3.0088 | 0.0025145 | 3.1573e-05 | 1.0494e-05 | 0.41733 | 0.0015591 | 1.4659e-05 | 1.5591 | 14.6587 | 0.0025145 | 2.2326e-05
0.78 | 1502.9989 | 0.00082528 | 0.001 | 0.54707 | 9887.211 | 2.2045e-05 | 4.7424e-06 | 3.0088 | 0.0024826 | 3.1176e-05 | 1.0362e-05 | 0.41737 | 0.0015274 | 1.4663e-05 | 1.5274 | 14.6628 | 0.0024826 | 2.2045e-05
0.77 | 1502.999 | 0.047967 | 0.001 | 0.54006 | 9887.211 | 2.2475e-05 | 5.3116e-06 | 3.0088 | 0.0024508 | 3.1785e-05 | 1.0564e-05 | 0.43105 | 0.0014956 | 1.4422e-05 | 1.4956 | 14.4222 | 0.0024508 | 2.2475e-05
0.76 | 1502.9988 | 0.00073967 | 0.001 | 0.53307 | 9887.211 | 2.16e-05 | 5.3712e-06 | 3.0088 | 0.0024191 | 3.0546e-05 | 1.0152e-05 | 0.41968 | 0.0014638 | 1.2121e-05 | 1.4638 | 12.1206 | 0.0024191 | 2.16e-05
0.75 | 1502.9989 | 0.00071524 | 0.001 | 0.52607 | 9887.211 | 2.0631e-05 | 4.4882e-06 | 3.0088 | 0.0023873 | 2.9176e-05 | 9.6969e-06 | 0.40619 | 0.0014319 | 1.3143e-05 | 1.4319 | 13.1429 | 0.0023873 | 2.0631e-05
0.74 | 1502.9989 | 0.0006619 | 0.001 | 0.51907 | 9887.211 | 2.063e-05 | 4.5971e-06 | 3.0088 | 0.0023555 | 2.9175e-05 | 9.6965e-06 | 0.41165 | 0.0014 | 1.3811e-05 | 1.4 | 13.811 | 0.0023555 | 2.063e-05
0.73 | 1502.999 | 0.00092464 | 0.001 | 0.51205 | 9887.211 | 2.1745e-05 | 5.1194e-06 | 3.0089 | 0.0023237 | 3.0753e-05 | 1.0221e-05 | 0.43985 | 0.0013681 | 1.2948e-05 | 1.3681 | 12.9479 | 0.0023237 | 2.1745e-05
0.72 | 1502.9989 | 0.00081414 | 0.001 | 0.50397 | 9887.211 | 1.9919e-05 | 4.7062e-06 | 3.0088 | 0.002287 | 2.8169e-05 | 9.3623e-06 | 0.40937 | 0.0013361 | 1.3049e-05 | 1.3361 | 13.0491 | 0.002287 | 1.9919e-05
0.71 | 1502.9989 | 0.00069179 | 0.001 | 0.49698 | 9887.211 | 2.1073e-05 | 3.496e-06 | 3.0088 | 0.0022553 | 2.9801e-05 | 9.9047e-06 | 0.43918 | 0.0013041 | 1.2645e-05 | 1.3041 | 12.6451 | 0.0022553 | 2.1073e-05
0.7 | 1502.9988 | 0.00065139 | 0.001 | 0.48996 | 9887.211 | 1.9313e-05 | 5.3423e-06 | 3.0088 | 0.0022234 | 2.7313e-05 | 9.0777e-06 | 0.40827 | 0.0012722 | 1.176e-05 | 1.2722 | 11.7597 | 0.0022234 | 1.9313e-05
0.69 | 1502.9989 | 0.00081759 | 0.001 | 0.48295 | 9887.211 | 2.0582e-05 | 5.1593e-06 | 3.0088 | 0.0021916 | 2.9107e-05 | 9.6739e-06 | 0.44141 | 0.0012409 | 1.1314e-05 | 1.2409 | 11.314 | 0.0021916 | 2.0582e-05
0.68 | 1502.9988 | 0.0008534 | 0.001 | 0.47591 | 9887.211 | 2.0124e-05 | 4.5347e-06 | 3.0088 | 0.0021597 | 2.846e-05 | 9.4588e-06 | 0.43797 | 0.0012091 | 1.1052e-05 | 1.2091 | 11.0521 | 0.0021597 | 2.0124e-05
0.67 | 1502.9988 | 0.00079284 | 0.001 | 0.46891 | 9887.211 | 1.8774e-05 | 4.962e-06 | 3.0087 | 0.0021279 | 2.655e-05 | 8.8245e-06 | 0.4147 | 0.0011773 | 1.0525e-05 | 1.1773 | 10.5252 | 0.0021279 | 1.8774e-05
0.66 | 1502.9989 | 0.00068865 | 0.001 | 0.4619 | 9887.211 | 1.8235e-05 | 4.8939e-06 | 3.0087 | 0.0020961 | 2.5788e-05 | 8.5712e-06 | 0.40892 | 0.0011457 | 1.0921e-05 | 1.1457 | 10.921 | 0.0020961 | 1.8235e-05
0.65 | 1502.9988 | 0.00076154 | 0.001 | 0.45489 | 9887.211 | 1.8948e-05 | 4.6506e-06 | 3.0088 | 0.0020643 | 2.6796e-05 | 8.906e-06 | 0.43143 | 0.001114 | 1.1159e-05 | 1.114 | 11.1588 | 0.0020643 | 1.8948e-05
0.64 | 1502.9989 | 0.00069636 | 0.001 | 0.44789 | 9887.211 | 1.8051e-05 | 4.9034e-06 | 3.0088 | 0.0020325 | 2.5527e-05 | 8.4842e-06 | 0.41742 | 0.0010823 | 1.0767e-05 | 1.0823 | 10.767 | 0.0020325 | 1.8051e-05
0.63 | 1502.9988 | 0.00075153 | 0.001 | 0.44139 | 9887.211 | 1.8754e-05 | 4.8475e-06 | 3.0088 | 0.002003 | 2.6522e-05 | 8.8149e-06 | 0.44008 | 0.0010505 | 1.0342e-05 | 1.0505 | 10.3425 | 0.002003 | 1.8754e-05
0.62 | 1502.9988 | 0.00078318 | 0.001 | 0.43443 | 9887.211 | 1.6314e-05 | 4.9171e-06 | 3.0088 | 0.0019714 | 2.3072e-05 | 7.6682e-06 | 0.38897 | 0.0010187 | 9.7737e-06 | 1.0187 | 9.7737 | 0.0019714 | 1.6314e-05
0.61 | 1502.9988 | 0.00072767 | 0.001 | 0.42756 | 9887.211 | 1.6803e-05 | 4.2693e-06 | 3.0087 | 0.0019403 | 2.3763e-05 | 7.898e-06 | 0.40706 | 0.00098335 | 9.7787e-06 | 0.98335 | 9.7787 | 0.0019403 | 1.6803e-05
0.6 | 1502.9989 | 0.00080102 | 0.001 | 0.42053 | 9887.211 | 1.6983e-05 | 4.373e-06 | 3.0088 | 0.0019084 | 2.4017e-05 | 7.9823e-06 | 0.41828 | 0.00095189 | 9.7988e-06 | 0.95189 | 9.7988 | 0.0019084 | 1.6983e-05
0.59 | 1502.9988 | 0.00070203 | 0.001 | 0.41347 | 9887.211 | 1.6204e-05 | 4.7364e-06 | 3.0088 | 0.0018763 | 2.2916e-05 | 7.6165e-06 | 0.40592 | 0.00092016 | 1.0211e-05 | 0.92016 | 10.2112 | 0.0018763 | 1.6204e-05
0.58 | 1502.9986 | 0.00068242 | 0.001 | 0.40642 | 9887.211 | 1.5877e-05 | 4.7455e-06 | 3.0088 | 0.0018443 | 2.2453e-05 | 7.4625e-06 | 0.40462 | 0.00088834 | 8.9007e-06 | 0.88834 | 8.9007 | 0.0018443 | 1.5877e-05
0.57 | 1502.999 | 0.00069769 | 0.001 | 0.39943 | 9887.211 | 1.539e-05 | 4.7448e-06 | 3.0087 | 0.0018126 | 2.1764e-05 | 7.2337e-06 | 0.39907 | 0.00085658 | 9.465e-06 | 0.85658 | 9.465 | 0.0018126 | 1.539e-05
0.56 | 1502.9989 | 0.00088686 | 0.001 | 0.39241 | 9887.211 | 1.5702e-05 | 4.8495e-06 | 3.0088 | 0.0017808 | 2.2206e-05 | 7.3804e-06 | 0.41445 | 0.00082484 | 8.7112e-06 | 0.82484 | 8.7112 | 0.0017808 | 1.5702e-05
0.55 | 1502.9988 | 0.0007032 | 0.001 | 0.38537 | 9887.211 | 1.5674e-05 | 4.2076e-06 | 3.0088 | 0.0017488 | 2.2166e-05 | 7.3671e-06 | 0.42127 | 0.00079341 | 7.3327e-06 | 0.79341 | 7.3327 | 0.0017488 | 1.5674e-05
0.54 | 1502.9989 | 0.00080214 | 0.001 | 0.37837 | 9887.211 | 1.4888e-05 | 4.5757e-06 | 3.0088 | 0.0017171 | 2.1055e-05 | 6.9977e-06 | 0.40754 | 0.00076179 | 8.4857e-06 | 0.76179 | 8.4857 | 0.0017171 | 1.4888e-05
0.53 | 1502.9988 | 0.00079279 | 0.001 | 0.37137 | 9887.211 | 1.502e-05 | 5.1976e-06 | 3.0087 | 0.0016853 | 2.1242e-05 | 7.0602e-06 | 0.41894 | 0.00073022 | 8.7655e-06 | 0.73022 | 8.7655 | 0.0016853 | 1.502e-05
0.52 | 1502.9989 | 0.00074068 | 0.001 | 0.36437 | 9887.211 | 1.5768e-05 | 4.1194e-06 | 3.0088 | 0.0016535 | 2.23e-05 | 7.4115e-06 | 0.44823 | 0.0006988 | 8.2016e-06 | 0.6988 | 8.2016 | 0.0016535 | 1.5768e-05
0.51 | 1502.9989 | 0.00069823 | 0.001 | 0.35737 | 9887.211 | 1.4546e-05 | 5.4891e-06 | 3.0087 | 0.0016217 | 2.0571e-05 | 6.8371e-06 | 0.42159 | 0.00066737 | 7.8252e-06 | 0.66737 | 7.8252 | 0.0016217 | 1.4546e-05
0.5 | 1502.9988 | 0.00082598 | 0.001 | 0.35052 | 9887.211 | 1.383e-05 | 4.8463e-06 | 3.0087 | 0.0015907 | 1.9558e-05 | 6.5005e-06 | 0.40866 | 0.00063616 | 8.2035e-06 | 0.63616 | 8.2035 | 0.0015907 | 1.383e-05
0.49 | 1502.9989 | 0.00089334 | 0.001 | 0.34356 | 9887.211 | 1.4659e-05 | 4.582e-06 | 3.0087 | 0.0015591 | 2.0731e-05 | 6.8902e-06 | 0.44194 | 0.0006044 | 7.8626e-06 | 0.6044 | 7.8626 | 0.0015591 | 1.4659e-05
0.48 | 1502.9988 | 0.00074198 | 0.001 | 0.33658 | 9887.211 | 1.4663e-05 | 4.9232e-06 | 3.0088 | 0.0015274 | 2.0736e-05 | 6.8919e-06 | 0.45122 | 0.00057267 | 7.6581e-06 | 0.57267 | 7.6581 | 0.0015274 | 1.4663e-05
0.47 | 1502.9988 | 0.00071904 | 0.001 | 0.32958 | 9887.211 | 1.4422e-05 | 4.4983e-06 | 3.0087 | 0.0014956 | 2.0396e-05 | 6.779e-06 | 0.45325 | 0.00054077 | 7.8611e-06 | 0.54077 | 7.8611 | 0.0014956 | 1.4422e-05
0.46 | 1502.9988 | 0.00073833 | 0.001 | 0.32256 | 9887.211 | 1.2121e-05 | 4.5998e-06 | 3.0088 | 0.0014638 | 1.7141e-05 | 5.697e-06 | 0.38919 | 0.00050886 | 6.767e-06 | 0.50886 | 6.767 | 0.0014638 | 1.2121e-05
0.45 | 1502.9988 | 0.00085205 | 0.001 | 0.31554 | 9887.211 | 1.3143e-05 | 4.8022e-06 | 3.0087 | 0.0014319 | 1.8587e-05 | 6.1777e-06 | 0.43143 | 0.00047715 | 6.7172e-06 | 0.47715 | 6.7172 | 0.0014319 | 1.3143e-05
0.44 | 1502.9989 | 0.00088596 | 0.001 | 0.30851 | 9887.211 | 1.3811e-05 | 4.335e-06 | 3.0088 | 0.0014 | 1.9532e-05 | 6.4915e-06 | 0.46367 | 0.00044536 | 7.2175e-06 | 0.44536 | 7.2175 | 0.0014 | 1.3811e-05
0.43 | 1502.9989 | 0.00078433 | 0.001 | 0.30147 | 9887.211 | 1.2948e-05 | 4.1916e-06 | 3.0088 | 0.0013681 | 1.8311e-05 | 6.0859e-06 | 0.44485 | 0.00041347 | 6.7886e-06 | 0.41347 | 6.7886 | 0.0013681 | 1.2948e-05
0.42 | 1502.9988 | 0.00076356 | 0.001 | 0.29443 | 9887.211 | 1.3049e-05 | 3.7767e-06 | 3.0088 | 0.0013361 | 1.8454e-05 | 6.1334e-06 | 0.45905 | 0.00038176 | 6.8595e-06 | 0.38176 | 6.8595 | 0.0013361 | 1.3049e-05
0.41 | 1502.9989 | 0.00078793 | 0.001 | 0.28738 | 9887.211 | 1.2645e-05 | 4.3105e-06 | 3.0088 | 0.0013041 | 1.7883e-05 | 5.9435e-06 | 0.45575 | 0.00034995 | 7.5165e-06 | 0.34995 | 7.5165 | 0.0013041 | 1.2645e-05
0.4 | 1502.9989 | 0.00079118 | 0.001 | 0.28035 | 9887.211 | 1.176e-05 | 4.7559e-06 | 3.0088 | 0.0012722 | 1.6631e-05 | 5.5274e-06 | 0.43446 | 0.00031825 | 7.4657e-06 | 0.31825 | 7.4657 | 0.0012722 | 1.176e-05
0.39 | 1502.9988 | 0.00086976 | 0.001 | 0.27345 | 9887.211 | 1.1314e-05 | 4.8337e-06 | 3.0088 | 0.0012409 | 1.6e-05 | 5.3179e-06 | 0.42855 | 0.00028638 | 6.8977e-06 | 0.28638 | 6.8977 | 0.0012409 | 1.1314e-05
0.38 | 1502.9988 | 0.00067205 | 0.001 | 0.26643 | 9887.211 | 1.1052e-05 | 4.2386e-06 | 3.0088 | 0.0012091 | 1.563e-05 | 5.1948e-06 | 0.42965 | 0.00025455 | 6.9882e-06 | 0.25455 | 6.9882 | 0.0012091 | 1.1052e-05
0.37 | 1502.9988 | 0.00066924 | 0.001 | 0.25944 | 9887.211 | 1.0525e-05 | 3.6526e-06 | 3.0088 | 0.0011773 | 1.4885e-05 | 4.9471e-06 | 0.4202 | 0.00022284 | 6.5013e-06 | 0.22284 | 6.5013 | 0.0011773 | 1.0525e-05
0.36 | 1502.9988 | 0.00083111 | 0.001 | 0.25246 | 9887.211 | 1.0921e-05 | 3.5937e-06 | 3.0088 | 0.0011457 | 1.5445e-05 | 5.1332e-06 | 0.44805 | 0.00019114 | 6.4805e-06 | 0.19114 | 6.4805 | 0.0011457 | 1.0921e-05
0.35 | 1502.9989 | 0.00070659 | 0.001 | 0.24549 | 9887.211 | 1.1159e-05 | 4.8535e-06 | 3.0088 | 0.001114 | 1.5781e-05 | 5.2449e-06 | 0.4708 |  |  |  |  | 0.001114 | 1.1159e-05
0.34 | 1502.9988 | 0.00082431 | 0.001 | 0.2385 | 9887.211 | 1.0767e-05 | 4.0932e-06 | 3.0088 | 0.0010823 | 1.5227e-05 | 5.0607e-06 | 0.46758 |  |  |  |  | 0.0010823 | 1.0767e-05
0.33 | 1502.9988 | 0.00065548 | 0.001 | 0.2315 | 9887.211 | 1.0342e-05 | 4.6292e-06 | 3.0088 | 0.0010505 | 1.4626e-05 | 4.8612e-06 | 0.46274 |  |  |  |  | 0.0010505 | 1.0342e-05
0.32 | 1502.9987 | 0.048578 | 0.001 | 0.22447 | 9887.211 | 9.7737e-06 | 3.8861e-06 | 3.0088 | 0.0010187 | 1.3822e-05 | 4.5939e-06 | 0.45098 |  |  |  |  | 0.0010187 | 9.7737e-06
0.31 | 1502.9989 | 0.00084199 | 0.001 | 0.21669 | 9887.211 | 9.7787e-06 | 4.1709e-06 | 3.0088 | 0.00098335 | 1.3829e-05 | 4.5962e-06 | 0.46741 |  |  |  |  | 0.00098335 | 9.7787e-06
0.3 | 1502.9989 | 0.00089983 | 0.001 | 0.20976 | 9887.211 | 9.7988e-06 | 3.9097e-06 | 3.0088 | 0.00095189 | 1.3858e-05 | 4.6057e-06 | 0.48385 |  |  |  |  | 0.00095189 | 9.7988e-06
0.29 | 1502.9987 | 0.0007752 | 0.001 | 0.20277 | 9887.211 | 1.0211e-05 | 4.2842e-06 | 3.0087 | 0.00092016 | 1.4441e-05 | 4.7997e-06 | 0.52161 |  |  |  |  | 0.00092016 | 1.0211e-05
0.28 | 1502.9988 | 0.00070867 | 0.001 | 0.19576 | 9887.211 | 8.9007e-06 | 4.1452e-06 | 3.0087 | 0.00088834 | 1.2588e-05 | 4.1837e-06 | 0.47096 |  |  |  |  | 0.00088834 | 8.9007e-06
0.27 | 1502.9988 | 0.00076827 | 0.001 | 0.18876 | 9887.211 | 9.465e-06 | 3.8444e-06 | 3.0086 | 0.00085658 | 1.3386e-05 | 4.4491e-06 | 0.5194 |  |  |  |  | 0.00085658 | 9.465e-06
0.26 | 1502.9988 | 0.00077426 | 0.001 | 0.18176 | 9887.211 | 8.7112e-06 | 3.7518e-06 | 3.0087 | 0.00082484 | 1.232e-05 | 4.0946e-06 | 0.49641 |  |  |  |  | 0.00082484 | 8.7112e-06
0.25 | 1502.9989 | 0.0008199 | 0.001 | 0.17484 | 9887.211 | 7.3327e-06 | 3.4844e-06 | 3.0086 | 0.00079341 | 1.037e-05 | 3.4468e-06 | 0.43442 |  |  |  |  | 0.00079341 | 7.3327e-06
0.24 | 1502.9989 | 0.00074223 | 0.001 | 0.16787 | 9887.211 | 8.4857e-06 | 3.9589e-06 | 3.0086 | 0.00076179 | 1.2001e-05 | 3.9888e-06 | 0.52361 |  |  |  |  | 0.00076179 | 8.4857e-06
0.23 | 1502.9988 | 0.00061682 | 0.001 | 0.16091 | 9887.211 | 8.7655e-06 | 3.8943e-06 | 3.0087 | 0.00073022 | 1.2396e-05 | 4.1201e-06 | 0.56424 |  |  |  |  | 0.00073022 | 8.7655e-06
0.22 | 1502.9987 | 0.00078952 | 0.001 | 0.15399 | 9887.211 | 8.2016e-06 | 3.6141e-06 | 3.0087 | 0.0006988 | 1.1599e-05 | 3.8551e-06 | 0.55167 |  |  |  |  | 0.0006988 | 8.2016e-06
0.21 | 1502.9988 | 0.00074608 | 0.001 | 0.14706 | 9887.211 | 7.8252e-06 | 3.5225e-06 | 3.0087 | 0.00066737 | 1.1067e-05 | 3.6782e-06 | 0.55114 |  |  |  |  | 0.00066737 | 7.8252e-06
0.2 | 1502.9988 | 0.00069075 | 0.001 | 0.14019 | 9887.211 | 8.2035e-06 | 3.8028e-06 | 3.0086 | 0.00063616 | 1.1602e-05 | 3.8561e-06 | 0.60615 |  |  |  |  | 0.00063616 | 8.2035e-06
0.19 | 1502.9988 | 3.3681e-05 | 0.001 | 0.13319 | 9887.211 | 7.8626e-06 | 3.9151e-06 | 3.0086 | 0.0006044 | 1.1119e-05 | 3.6959e-06 | 0.61149 |  |  |  |  | 0.0006044 | 7.8626e-06
0.18 | 1502.9988 | 0.00072176 | 0.001 | 0.12619 | 9887.211 | 7.6581e-06 | 3.991e-06 | 3.0087 | 0.00057267 | 1.083e-05 | 3.5996e-06 | 0.62857 |  |  |  |  | 0.00057267 | 7.6581e-06
0.17 | 1502.9989 | 0.00082071 | 0.001 | 0.11917 | 9887.211 | 7.8611e-06 | 3.6304e-06 | 3.0087 | 0.00054077 | 1.1117e-05 | 3.6951e-06 | 0.68329 |  |  |  |  | 0.00054077 | 7.8611e-06
0.16 | 1502.9989 | 0.00070419 | 0.001 | 0.11213 | 9887.211 | 6.767e-06 | 3.7282e-06 | 3.0087 | 0.00050886 | 9.57e-06 | 3.1808e-06 | 0.62508 |  |  |  |  | 0.00050886 | 6.767e-06
0.15 | 1502.9988 | 0.0007356 | 0.001 | 0.10514 | 9887.211 | 6.7172e-06 | 3.3862e-06 | 3.0087 | 0.00047715 | 9.4995e-06 | 3.1573e-06 | 0.66172 |  |  |  |  | 0.00047715 | 6.7172e-06
0.14 | 1502.9988 | 0.00071902 | 0.001 | 0.098141 | 9887.211 | 7.2175e-06 | 3.5086e-06 | 3.0087 | 0.00044536 | 1.0207e-05 | 3.3925e-06 | 0.76175 |  |  |  |  | 0.00044536 | 7.2175e-06
0.13 | 1502.9988 | 0.00082421 | 0.001 | 0.091113 | 9887.211 | 6.7886e-06 | 3.2595e-06 | 3.0086 | 0.00041347 | 9.6005e-06 | 3.191e-06 | 0.77177 |  |  |  |  | 0.00041347 | 6.7886e-06
0.12 | 1502.9989 | 0.00075392 | 0.001 | 0.084126 | 9887.211 | 6.8595e-06 | 3.172e-06 | 3.0086 | 0.00038176 | 9.7007e-06 | 3.2243e-06 | 0.84459 |  |  |  |  | 0.00038176 | 6.8595e-06
0.11 | 1502.9989 | 0.00077507 | 0.001 | 0.077115 | 9887.211 | 7.5165e-06 | 3.6023e-06 | 3.0086 | 0.00034995 | 1.063e-05 | 3.5332e-06 | 1.0096 |  |  |  |  | 0.00034995 | 7.5165e-06
0.1 | 1502.9989 | 0.00083589 | 0.001 | 0.07013 | 9887.211 | 7.4657e-06 | 3.5307e-06 | 3.0085 | 0.00031825 | 1.0558e-05 | 3.5094e-06 | 1.1027 |  |  |  |  | 0.00031825 | 7.4657e-06
0.09 | 1502.9987 | 0.00089508 | 0.001 | 0.063107 | 9887.211 | 6.8977e-06 | 3.4536e-06 | 3.0085 | 0.00028638 | 9.7548e-06 | 3.2424e-06 | 1.1322 |  |  |  |  | 0.00028638 | 6.8977e-06
0.08 | 1502.9988 | 0.00064393 | 0.001 | 0.056092 | 9887.211 | 6.9882e-06 | 3.4629e-06 | 3.0086 | 0.00025455 | 9.8828e-06 | 3.2849e-06 | 1.2905 |  |  |  |  | 0.00025455 | 6.9882e-06
0.07 | 1502.9988 | 0.00077248 | 0.001 | 0.049106 | 9887.211 | 6.5013e-06 | 2.7494e-06 | 3.0086 | 0.00022284 | 9.1942e-06 | 3.056e-06 | 1.3714 |  |  |  |  | 0.00022284 | 6.5013e-06
0.06 | 1502.9987 | 0.00086312 | 0.001 | 0.042119 | 9887.211 | 6.4805e-06 | 3.1492e-06 | 3.0086 | 0.00019114 | 9.1648e-06 | 3.0462e-06 | 1.5937 |  |  |  |  | 0.00019114 | 6.4805e-06